| 1. | Project Name: | __________________________________________________ | Date Submitted__ |  | Revision |
| --- | --- | --- | --- | --- | --- |
| Contact person:________________________________________________________ | Phone #: |  |
| Scope of work | Specs (Y/N) |  |
| Existing Conditions |  |
| 2. Process Water Data: |
| A. Quantity of Water Required Treatment |
| Average metal bearing wastewater flow rate: |
| Peak metal bearing wastewater flow rate: |
| Average & peak non-metal bearing flow rate: |
| Average Organic bearing wastewater flow rate: |
| Peak Organic bearing wastewater flow rate: |
| Other potential flow conditions from other stream: |
| Operation: days/week: | Maximum hours/day: |  |
| Redundancy: |  | Batch |  | 2nd train for regeneration or cleaning |  | full spare |  |  | % |
| Minimum run length: | hr hrs | Max. Regenerate time: hr hrs | Min. outlet pressure: |
| B. Feed Water Summary |
| (Please attach a complete water analysis) |
| Water source: |  | Surface |  | Municipal |  | Well |  | Other: |  |
| Temp. min/max, OF: |  | Suspended:_________________ solids:______________ | ppm range (yearly):___________ |
| C. Product Quality Required |
| Industry Spec: |  | Boiler feed water, operating pressure (psi): |
| Electronics, IC or device linewidth (m): |  | ASTM spec. E - |
| Measurements: |  | Conductivity (S) < |  |  | Resistivity (M) > |  |  | pH |  |
|  |  |  | Silica (ppm / ppb) < |  |  | Particles max. |  | Particles per ml |  | m or larger |
|  |  |  | Hardness (ppm) < |  |  | TOC (ppm / ppb) < |  |  |  |
|  |  |  | CO2 or O2 (ppm) < |  |  | Bacteria, CFU/ml < |  |  |  |
| Specific ions / other | Guarantee point | Units | Specific ions / other | Guarantee point | Units |
|  | < |  |  |  |  |  | < |  |  |  |
|  | < |  |  |  |  |  | < |  |  |  |
|  | < |  |  |  |  |  | < |  |  |  |
|  | < |  |  |  |  |  | < |  |  |  |

| 2. Water & Wastewater Data: |
| --- |
| A. Quantity of Water/Wastewater to be Treated |
| Average flow rate & units: | Peak flow rate & units: | Other potential flow conditions: |
| days/week: | hours/day: |  |
| Sizing or redundancy requirements: |  |
| Any products we should recover?: |  |
| Sink Chemistry attached. |

| B. Water & Wastewater Characteristics and Requirements |
| --- |
| Additional analysis attached |
| Parameter | Influent mg/l |  | Req'd effluent |  | Parameter | Influent mg/l |  | Req'd effluent |
| Temp (F / C) |  |  |  |  | SDI |  |  |  |
| Turbidity |  |  |  |  | CN |  |  |  |
| PH |  |  |  |  | Cd |  |  |  |
| BOD |  |  |  |  | Cu |  |  |  |
| COD |  |  |  |  | Cr |  |  |  |
| TOC |  |  |  |  | Pb |  |  |  |
| Oil/Grease |  |  |  |  | Ni |  |  |  |
| TSS |  |  |  |  | Fe |  |  |  |
| Total P |  |  |  |  | TDS |  |  |  |
| TKN |  |  |  |  | GaAs |  |  |  |
| NH4-N |  |  |  |  | Alkalinity |  |  |  |
| Solvent ________ ______________ Others ____________ _________ |
| Final Wastewater Disposition is: | POTW (sewer) |  | NPDES (direct) |  | Recycle/Reuse |
| 3. Solids/Sludge Handling Data (Must be completed for Solids Handling requests): |
| Type of Solids: |  | Anaerobic |  | Aerobic |  | Primary |  | Secondary |  | Metals Precip. |
|  | Dye/Pigment |  | Water Treatment Waste |  | Other: |
| Influent gal/day: |  | Influent wt % solids: |  | Influent dry lb/day: |  |
| (hr/day, days/wk): |  | Infl. % volatile solids: |  | $/DT disposal cost: |  |
| Recommended dewatering method: |  | Req. concentration: |  |
| Final Disposal: |  | Landfill |  | Land Apply |  | Incineration |  | Composting |  |  |
| 4. Site Limitations and Conditions: |
| Area classification (if known): |
|  | Space Limitations? | If so, list the | Length available (ft) | width available (ft) | Height available (ft) |
| Space available: | fftFt | x |  | x |  |  |
|  | Access Limitations? | If so, describe: |  |
|  | (Attach a sketch if possible) |  |
|  | Utility Limitations? | List any typical services that are not available or may affect the equipment design |
| (Typical services are single and 3 phase power, pressurized feed water, instrument air, steam / hot water, cooling water, |
| pressurized or bulk chemical supplies, compressed air / N2, open drains and waste handling facilities, natural gas, etc.) |
|  | Climate Limitations? | Where is the jobsite (city, state/country)? |  | Indoors |  | outdoors |
| List any special limitations (altitude, temperatures, lack of storage or insulation, salt air, etc.) |
| List any special limitations (altitude, temperatures, lack of storage or insulation, salt air, etc.) |
|  | Other Limitations? | If so, check or |  | Site (is/will be) under construction |  | Union site |  | Non-union |
| describe here: |  |

| 5. General Comments: | (Include motives, etc.) |
| --- | --- |
| 6. Flow Schematic(s): | (Indicate current and desired situation; attach sheets if necessary) |

Summary of Acronyms:

SDI : Silt Density Index